**Daily:Enter-Comparison Elements**

| Station Name | Year | Month | Day | Elements IDs | Elements Values | Error Type | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 8 | 6 | 477 and 18 | 66 vs 29 | large difference btn Evapo BAC & Piche | No |
| GITEGA | 2025 | 8 | 24 | 92,93,84 | 40&31 vs 6 | Total Sunshine is Wrong | No |
| GITEGA | 2025 | 8 | 29 | 477 and 18 | 72 vs 36 | large difference btn Evapo BAC & Piche | No |
| GIKONGORO | 2025 | 8 | 3 | 477 and 18 | 71 vs 34 | large difference btn Evapo BAC & Piche | No |
| GIKONGORO | 2025 | 8 | 11 | 575,576,18 | 20&8vs14 | Daily Evaporation must be greater than one of half day | No |
| GIKONGORO | 2025 | 8 | 21 | 92,93,84 | 31&29 vs 30 | Total Sunshine is Wrong | No |
| GIKONGORO | 2025 | 8 | 22 | 92,93,84 | 48&43 vs 92 | Total Sunshine is Wrong | No |
| RUBENGERA | 2025 | 8 | 16 | 2 and 3 | 164 vs 164 | Tmax must be greater than Tmin | No |
| BUSOGO | 2025 | 8 | 15 | 92,93,84 | 5&19 vs 14 | Total Sunshine is Wrong | No |
| KIBUNGO | 2025 | 8 | 9 | 477 and 18 | 36 vs 0 | large difference btn Evapo BAC & Piche | No |

**Daily\_Absolute limits and Consecutive days consistency checks.**

| Station Name | Year | Month | Day | Element ID | Element Value | Limit Error | Consistency Error | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 8 | 4 | 18 | 64 | Suspected Value |  | No |
| GITEGA | 2025 | 8 | 18 | 2 | 188 |  | Shift from 269, Sudden Change of 81 | No |
| GIKONGORO | 2025 | 8 | 28 | 18 | 70 | Suspected Value |  | No |
| GIKONGORO | 2025 | 8 | 29 | 18 | 66 | Suspected Value |  | No |
| BYIMANA | 2025 | 8 | 1 | 3 | 108 |  | Shift from 172, Sudden Change of 64 | No |
| RUBENGERA | 2025 | 8 | 7 | 2 | 161 |  | Shift from 258, Sudden Change of 97 | No |
| RUBENGERA | 2025 | 8 | 8 | 2 | 268 |  | Shift from 161, Sudden Change of 107 | No |
| RUBENGERA | 2025 | 8 | 16 | 2 | 164 |  | Shift from 253, Sudden Change of 89 | No |
| RUBENGERA | 2025 | 8 | 17 | 2 | 248 |  | Shift from 164, Sudden Change of 84 | No |
| NYAGATARE | 2025 | 8 | 2 | 477 | 109 | Suspected Value |  | No |
| NYAGATARE | 2025 | 8 | 5 | 477 | 105 | Suspected Value |  | No |
| KIBUNGO | 2025 | 8 | 29 | 477 | 135 | Suspected Value |  | No |
| KIBUNGO | 2025 | 8 | 30 | 477 | 117 | Suspected Value |  | No |
| KIBUNGO | 2025 | 8 | 30 | 18 | 92 | Suspected Value |  | No |