**REPORTING STATUS OF AWS & ARG BY AUGUST 2025.**

1. **INTRODUCTION**

This report provides a summary of the performance of automatic weather stations (AWS) and automatic rain gauges (ARG) for August 2025, as well as the overall reporting status as of 31 August 2025. Table 1 presents the number of monitored stations and their corresponding data repository folders.

Table 1:Numbers on monitored Stations

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Station Type** | **Number** | **Server** | **Repository folder** | **GUI** | **Monitoring Frequency** |
| AWS Web monitor | 52 | Web Monitor | C:\NESA\files\Climat File | Web Monitor | Daily |
| AWS\_SOFF | 3 | Web Monitor | C:\Campbellsci\LoggerNet | Wis2box | Daily |
| AWS\_Lightening | 8 | Web Monitor | C:\NESA\files | None | Monthly |
| ARG | 70 | LSA | C:\DATA | Comnet | Monthly |
| AWS-XLOG | 9 | LSA | C:\DATA\XLOG | None | Monthly |
| AWS-ELOG | 3 | LSA | C:\DATA | Comnet | Monthly |
| AWS\_NAEB | 11 | LSA | C:\DATA\NAEB | None | Monthly |
| **TOTAL** | **156** | | | | |

1. **REPORTING STATUS**

* As of August 2025, the overall reporting rate stands at **67.95%** for both automatic weather stations and automatic rain gauges, as shown in Table 2.
* Compared to July 2025, six additional stations did not report in August 2025.

Table 2:Reporting Status during August,2025.

|  |  |  |  |
| --- | --- | --- | --- |
| **Station Type** | **Number** | **REPORTED AT LEAST ONCE IN AUGUST 2025** | |
| **Number** | **Percent** |
| AWS Web monitor | 52 | 45 | 86.5% |
| AWS\_SOFF | 3 | 3 | 100% |
| AWS\_Lightening | 8 | 4 | 50% |
| ARG | 70 | 39 | 55.7% |
| AWS-XLOG | 9 | 6 | 66.7% |
| AWS-ELOG | 3 | 2 | 66.7% |
| AWS\_NAEB | 11 | 7 | 63.6% |
| **TOTAL** | **156** | **116** | **67.95%** |

* A total of **98 stations (62.82%)** reported on **August 31, 2025**, as shown in **Table 3**. As we begin the new month of **September 2025**, this figure indicates the number of stations that commenced reporting at the start of the month.

Table 3:Reporting status by 31,August 2025.

|  |  |  |  |
| --- | --- | --- | --- |
| **Station Type** | **Sum of All Stations** | **REPORTED ON 31thAUG 2025** | |
| **Number** | **Percent** |
| AWS Web monitor | 52 | 42 | 81% |
| AWS\_SOFF | 3 | 3 | 100% |
| AWS\_Lightening | 8 | 4 | 50.0% |
| ARG | 70 | 36 | 51.4% |
| AWS-XLOG | 9 | 5 | 55.6% |
| AWS-ELOG | 3 | 2 | 66.7% |
| AWS\_NAEB | 11 | 6 | 54.5% |
| **TOTAL** | **156** | **98** | **62.82%** |

**Prepared by**:

Christian Bikorimana

Ag. Data Quality Control Officer