Daily:Enter-Comparison Elements

| Station Name | Year | Month | Day | Elements IDs | Elements Values | Error Type | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 10 | 2 | 15 and 16 | 28 vs 77 | RHmax must be greater than RHmin | No |
| GITEGA | 2025 | 10 | 4 | 92,93,84 | 26&19 vs 35 | Total Sunshine is Wrong | No |
| GITEGA | 2025 | 10 | 7 | 575,576,18 | 29&2vs27 | Daily Evaporation must be greater than one of half day | No |
| GITEGA | 2025 | 10 | 29 | 575,576,18 | 30&5vs10 | Daily Evaporation must be greater than one of half day | No |
| GITEGA | 2025 | 10 | 31 | 573, 574,477 | 22&7vs11 | Daily Evaporation must be greater than one of half day | No |
| GITEGA | 2025 | 10 | 31 | 575,576,18 | 23&12vs17 | Daily Evaporation must be greater than one of half day | No |
| GIKONGORO | 2025 | 10 | 17 | 92,93,84 | 21&19 vs 30 | Total Sunshine is Wrong | No |
| BYIMANA | 2025 | 10 | 15 | 575,576,18 | 19&11vs13 | Daily Evaporation must be greater than one of half day | No |
| BYIMANA | 2025 | 10 | 17 | 575,576,18 | 65&12vs34 | Daily Evaporation must be greater than one of half day | No |
| BYIMANA | 2025 | 10 | 19 | 575,576,18 | 65&8vs46 | Daily Evaporation must be greater than one of half day | No |
| BYIMANA | 2025 | 10 | 21 | 575,576,18 | 29&2vs19 | Daily Evaporation must be greater than one of half day | No |
| BYIMANA | 2025 | 10 | 22 | 575,576,18 | 20&0vs0 | Daily Evaporation must be greater than one of half day | No |
| BYIMANA | 2025 | 10 | 26 | 573, 574,477 | 22&3vs15 | Daily Evaporation must be greater than one of half day | No |
| BYIMANA | 2025 | 10 | 30 | 477 and 18 | 7 vs 40 | large difference btn Evapo BAC & Piche | No |
| BYIMANA | 2025 | 10 | 31 | 575,576,18 | 30&2vs5 | Daily Evaporation must be greater than one of half day | No |
| RUBENGERA | 2025 | 10 | 4 | 573, 574,477 | 18&1vs17 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 10 | 9 | 575,576,18 | 25&5vs13 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 10 | 10 | 575,576,18 | 14&8vs13 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 10 | 11 | 477 and 18 | 22 vs 55 | large difference btn Evapo BAC & Piche | No |
| GISENYI | 2025 | 10 | 11 | 573, 574,477 | 4&29vs22 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 10 | 14 | 575,576,18 | 21&22vs21 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 10 | 23 | 573, 574,477 | 36&3vs19 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 10 | 26 | 575,576,18 | 61&50vs40 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 10 | 27 | 477 and 18 | 28 vs 74 | large difference btn Evapo BAC & Piche | No |
| GISENYI | 2025 | 10 | 29 | 573, 574,477 | 21&0vs14 | Daily Evaporation must be greater than one of half day | No |
| BUSOGO | 2025 | 10 | 16 | 575,576,18 | 27&2vs24 | Daily Evaporation must be greater than one of half day | No |
| BUSOGO | 2025 | 10 | 31 | 573, 574,477 | 13&1vs12 | Daily Evaporation must be greater than one of half day | No |
| BYUMBA | 2025 | 10 | 24 | 573, 574,477 | 37&10vs28 | Daily Evaporation must be greater than one of half day | No |
| KAWANGIRE | 2025 | 10 | 2 | 573, 574,477 | 5&35vs33 | Daily Evaporation must be greater than one of half day | No |
| KAWANGIRE | 2025 | 10 | 6 | 573, 574,477 | 2&15vs12 | Daily Evaporation must be greater than one of half day | No |
| KAWANGIRE | 2025 | 10 | 8 | 573, 574,477 | 2&27vs14 | Daily Evaporation must be greater than one of half day | No |
| KAWANGIRE | 2025 | 10 | 11 | 573, 574,477 | 1&22vs17 | Daily Evaporation must be greater than one of half day | No |
| KAWANGIRE | 2025 | 10 | 12 | 573, 574,477 | 8&37vs30 | Daily Evaporation must be greater than one of half day | No |
| KAWANGIRE | 2025 | 10 | 17 | 573, 574,477 | 1&19vs18 | Daily Evaporation must be greater than one of half day | No |
| KAWANGIRE | 2025 | 10 | 18 | 92,93,84 | 19&12 vs 27 | Total Sunshine is Wrong | No |
| KIBUNGO | 2025 | 10 | 7 | 477 and 18 | 19 vs 56 | large difference btn Evapo BAC & Piche | No |
| KIBUNGO | 2025 | 10 | 10 | 92,93,84 | 22&33 vs 9 | Total Sunshine is Wrong | No |
| KIBUNGO | 2025 | 10 | 13 | 477 and 18 | 60 vs 26 | large difference btn Evapo BAC & Piche | No |
| KIBUNGO | 2025 | 10 | 13 | 575,576,18 | 36&14vs26 | Daily Evaporation must be greater than one of half day | No |
| KIBUNGO | 2025 | 10 | 31 | 575,576,18 | 22&6vs19 | Daily Evaporation must be greater than one of half day | No |

Daily_Absolute limits and Consecutive days consistency checks.

| Station Name | Year | Month | Day | Element ID | Element Value | Limit Error | Consistency Error | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 10 | 2 | 15 | 28 | Suspected Value |  | No |
| GISENYI | 2025 | 10 | 27 | 18 | 74 | Suspected Value |  | No |
| BUSOGO | 2025 | 10 | 1 | 3 | 114 |  | Shift from 169, Sudden Change of 55 | No |
| NYAGATARE | 2025 | 10 | 1 | 2 | 292 |  | Shift from 188, Sudden Change of 104 | No |

Checked on: 05-Nov-2025

Christian Bikorimana

Ag.Data Quality Control Officer