Hourly:Enter_Element Comparison

| Station name | Year | Month | Day | Hour | Element ID | Value | Error | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 10 | 1 | 15:00 | 196 Vs 112 | 0 vs 15 | Wind Speed and direction do not match | No |
| GITEGA | 2025 | 10 | 8 | 14:00 | 166vs103 | 14 vs 170 | Vapor Pressure is less than Dew Point | No |
| GITEGA | 2025 | 10 | 18 | 09:00 | 103vs102 | 166 vs 10 | Dew Point is greater than Wet Bulb | No |
| GITEGA | 2025 | 10 | 21 | 05:00 | 166vs103 | 152 vs 155 | Vapor Pressure is less than Dew Point | No |
| GITEGA | 2025 | 10 | 22 | 12:00 | 166vs103 | 84 vs 162 | Vapor Pressure is less than Dew Point | No |
| GITEGA | 2025 | 10 | 25 | 13:00 | 105(RH)vs184(Hygro) | 66 vs 0 | Large Deviation | No |
| GITEGA | 2025 | 10 | 27 | 10:00 | 103vs102 | 184 vs 20 | Dew Point is greater than Wet Bulb | No |
| GITEGA | 2025 | 10 | 29 | 07:00 | 196 Vs 112 | 4 vs 0 | Wind Speed and direction do not match | No |
| GITEGA | 2025 | 10 | 29 | 08:00 | 196 Vs 112 | 3 vs 0 | Wind Speed and direction do not match | No |
| GITEGA | 2025 | 10 | 29 | 12:00 | 196 Vs 112 | 0 vs 250 | Wind Speed and direction do not match | No |
| GITEGA | 2025 | 10 | 29 | 13:00 | 196 Vs 112 | 0 vs 180 | Wind Speed and direction do not match | No |
| GIKONGORO | 2025 | 10 | 5 | 06:00 | 196 Vs 112 | 0 vs 30 | Wind Speed and direction do not match | No |
| GIKONGORO | 2025 | 10 | 10 | 13:00 | 196 Vs 112 | 0 vs 30 | Wind Speed and direction do not match | No |
| GIKONGORO | 2025 | 10 | 23 | 04:00 | 103vs102 | 155 vs 145 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 3 | 09:00 | 196 Vs 112 | 3 vs 0 | Wind Speed and direction do not match | No |
| BYIMANA | 2025 | 10 | 3 | 10:00 | 196 Vs 112 | 3 vs 0 | Wind Speed and direction do not match | No |
| BYIMANA | 2025 | 10 | 3 | 11:00 | 101(DryBulb)vs183(Thermo) | 228 vs 2225 | Large Deviation | No |
| BYIMANA | 2025 | 10 | 5 | 11:00 | 103vs102 | 159 vs 19 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 5 | 16:00 | 196 Vs 112 | 6 vs 0 | Wind Speed and direction do not match | No |
| BYIMANA | 2025 | 10 | 6 | 14:00 | 196 Vs 112 | 6 vs 0 | Wind Speed and direction do not match | No |
| BYIMANA | 2025 | 10 | 6 | 16:00 | 196 Vs 112 | 0 vs 180 | Wind Speed and direction do not match | No |
| BYIMANA | 2025 | 10 | 8 | 10:00 | 103vs102 | 165 vs 158 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 9 | 12:00 | 103vs102 | 159 vs 156 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 10 | 07:00 | 103vs102 | 141 vs 140 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 10 | 14:00 | 166vs103 | 172 vs 173 | Vapor Pressure is less than Dew Point | No |
| BYIMANA | 2025 | 10 | 10 | 16:00 | 101vs103 | 158vs160 | Dry Bulb is less than Dew Point | No |
| BYIMANA | 2025 | 10 | 10 | 16:00 | 103vs102 | 160 vs 145 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 12 | 07:00 | 103vs102 | 151 vs 150 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 20 | 07:00 | 103vs102 | 139 vs 136 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 27 | 06:00 | 103vs102 | 143 vs 137 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 27 | 07:00 | 103vs102 | 148 vs 142 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 31 | 07:00 | 101vs103 | 163vs170 | Dry Bulb is less than Dew Point | No |
| BYIMANA | 2025 | 10 | 31 | 07:00 | 103vs102 | 170 vs 154 | Dew Point is greater than Wet Bulb | No |
| BYIMANA | 2025 | 10 | 31 | 07:00 | 166vs103 | 168 vs 170 | Vapor Pressure is less than Dew Point | No |
| GISENYI | 2025 | 10 | 5 | 21:00 | 101vs103 | 199vs200 | Dry Bulb is less than Dew Point | No |
| GISENYI | 2025 | 10 | 5 | 21:00 | 103vs102 | 200 vs 198 | Dew Point is greater than Wet Bulb | No |
| GISENYI | 2025 | 10 | 10 | 16:00 | 101vs102 | 212 vs 220 | Dry Bulb is less than Wet Bulb | No |
| GISENYI | 2025 | 10 | 12 | 05:00 | 103vs102 | 145 vs 125 | Dew Point is greater than Wet Bulb | No |
| GISENYI | 2025 | 10 | 12 | 11:00 | 196 Vs 112 | 0 vs 18 | Wind Speed and direction do not match | No |
| GISENYI | 2025 | 10 | 12 | 12:00 | 196 Vs 112 | 0 vs 18 | Wind Speed and direction do not match | No |
| BUSOGO | 2025 | 10 | 16 | 17:00 | 196 Vs 112 | 3 vs 0 | Wind Speed and direction do not match | No |
| BUSOGO | 2025 | 10 | 18 | 09:00 | 101vs103 | 171vs177 | Dry Bulb is less than Dew Point | No |
| BUSOGO | 2025 | 10 | 18 | 09:00 | 103vs102 | 177 vs 148 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 18 | 09:00 | 166vs103 | 157 vs 177 | Vapor Pressure is less than Dew Point | No |
| BUSOGO | 2025 | 10 | 25 | 07:00 | 103vs102 | 109 vs 107 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 25 | 18:00 | 101vs102 | 167 vs 178 | Dry Bulb is less than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 07:00 | 103vs102 | 118 vs 116 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 08:00 | 103vs102 | 157 vs 150 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 09:00 | 103vs102 | 180 vs 178 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 11:00 | 103vs102 | 179 vs 172 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 12:00 | 103vs102 | 176 vs 172 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 13:00 | 103vs102 | 176 vs 120 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 16:00 | 103vs102 | 176 vs 165 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 17:00 | 103vs102 | 161 vs 148 | Dew Point is greater than Wet Bulb | No |
| BUSOGO | 2025 | 10 | 28 | 18:00 | 103vs102 | 157 vs 147 | Dew Point is greater than Wet Bulb | No |
| BYUMBA | 2025 | 10 | 1 | 04:00 | 101(DryBulb)vs183(Thermo) | 149 vs 17 | Large Deviation | No |
| BYUMBA | 2025 | 10 | 1 | 18:00 | 103vs102 | 153 vs 132 | Dew Point is greater than Wet Bulb | No |
| BYUMBA | 2025 | 10 | 1 | 18:00 | 166vs103 | 134 vs 153 | Vapor Pressure is less than Dew Point | No |
| BYUMBA | 2025 | 10 | 4 | 09:00 | 103vs102 | 141 vs 136 | Dew Point is greater than Wet Bulb | No |
| BYUMBA | 2025 | 10 | 14 | 05:00 | 101(DryBulb)vs183(Thermo) | 164 vs 78 | Large Deviation | No |
| NYAGATARE | 2025 | 10 | 2 | 04:00 | 103vs102 | 159 vs 158 | Dew Point is greater than Wet Bulb | No |
| KAWANGIRE | 2025 | 10 | 2 | 18:00 | 101(DryBulb)vs183(Thermo) | 290 vs 190 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 3 | 11:00 | 101vs102 | 161 vs 203 | Dry Bulb is less than Wet Bulb | No |
| KAWANGIRE | 2025 | 10 | 3 | 11:00 | 101(DryBulb)vs183(Thermo) | 161 vs 265 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 3 | 11:00 | 101vs103 | 161vs175 | Dry Bulb is less than Dew Point | No |
| KAWANGIRE | 2025 | 10 | 5 | 14:00 | 105(RH)vs184(Hygro) | 54 vs 100 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 8 | 14:00 | 101(DryBulb)vs183(Thermo) | 245 vs 151 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 8 | 15:00 | 105(RH)vs184(Hygro) | 51 vs 93 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 8 | 16:00 | 105(RH)vs184(Hygro) | 51 vs 92 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 12 | 11:00 | 105(RH)vs184(Hygro) | 56 vs 98 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 12 | 12:00 | 105(RH)vs184(Hygro) | 46 vs 92 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 12 | 13:00 | 105(RH)vs184(Hygro) | 40 vs 84 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 12 | 18:00 | 101(DryBulb)vs183(Thermo) | 180 vs 272 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 17 | 04:00 | 105(RH)vs184(Hygro) | 48 vs 100 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 17 | 23:00 | 101vs102 | 119 vs 157 | Dry Bulb is less than Wet Bulb | No |
| KAWANGIRE | 2025 | 10 | 17 | 23:00 | 101(DryBulb)vs183(Thermo) | 119 vs 200 | Large Deviation | No |
| KAWANGIRE | 2025 | 10 | 17 | 23:00 | 101vs103 | 119vs132 | Dry Bulb is less than Dew Point | No |
| KIBUNGO | 2025 | 10 | 4 | 06:00 | 103vs102 | 139 vs 135 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 4 | 07:00 | 103vs102 | 144 vs 139 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 4 | 08:00 | 103vs102 | 148 vs 138 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 25 | 06:00 | 103vs102 | 155 vs 144 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 25 | 07:00 | 103vs102 | 155 vs 145 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 25 | 08:00 | 103vs102 | 158 vs 150 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 25 | 09:00 | 103vs102 | 161 vs 155 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 25 | 23:00 | 103vs102 | 173 vs 163 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 27 | 06:00 | 103vs102 | 158 vs 153 | Dew Point is greater than Wet Bulb | No |
| KIBUNGO | 2025 | 10 | 27 | 08:00 | 103vs102 | 169 vs 160 | Dew Point is greater than Wet Bulb | No |

Lower_Upper Limits and hourly Consecutive Control Report

| Station Name | Year | Month | Day | Element ID | Hour | Value | Limit Check | Consistency Check | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 10 | 14 | 101 | 14:00 | 193 |  | Shift from 284, Sudden Change of 91 | No |
| GITEGA | 2025 | 10 | 18 | 102 | 09:00 | 10 |  | Shift from 175, Sudden Change of 165 | No |
| GITEGA | 2025 | 10 | 18 | 102 | 10:00 | 188 |  | Shift from 10, Sudden Change of 178 | No |
| GITEGA | 2025 | 10 | 27 | 102 | 10:00 | 20 |  | Shift from 198, Sudden Change of 178 | No |
| GITEGA | 2025 | 10 | 27 | 102 | 11:00 | 207 |  | Shift from 20, Sudden Change of 187 | No |
| GITEGA | 2025 | 10 | 10 | 103 | 19:00 | 103 |  | Shift from 155, Sudden Change of 52 | No |
| GITEGA | 2025 | 10 | 13 | 103 | 06:00 | 148 |  | Shift from 96, Sudden Change of 52 | No |
| GITEGA | 2025 | 10 | 13 | 105 | 15:00 | 76 |  | Shift from 42, Sudden Change of 34 | No |
| GITEGA | 2025 | 10 | 13 | 183 | 15:00 | 210 |  | Shift from 285, Sudden Change of 75 | No |
| GITEGA | 2025 | 10 | 14 | 183 | 14:00 | 200 |  | Shift from 282, Sudden Change of 82 | No |
| GITEGA | 2025 | 10 | 22 | 183 | 14:00 | 163 |  | Shift from 242, Sudden Change of 79 | No |
| GITEGA | 2025 | 10 | 25 | 184 | 13:00 | 0 | Suspected | Shift from 70, Sudden Change of 70 | No |
| GITEGA | 2025 | 10 | 25 | 184 | 14:00 | 68 |  | Shift from 0, Sudden Change of 68 | No |
| KIGALI AERO | 2025 | 10 | 1 | 95 | 16:00 | 0 | Invalid entry | - | No |
| GIKONGORO | 2025 | 10 | 18 | 101 | 15:00 | 160 |  | Shift from 243, Sudden Change of 83 | No |
| GIKONGORO | 2025 | 10 | 15 | 105 | 20:00 | 91 |  | Shift from 58, Sudden Change of 33 | No |
| GIKONGORO | 2025 | 10 | 18 | 105 | 15:00 | 90 |  | Shift from 58, Sudden Change of 32 | No |
| GIKONGORO | 2025 | 10 | 18 | 183 | 15:00 | 165 |  | Shift from 243, Sudden Change of 78 | No |
| GIKONGORO | 2025 | 10 | 15 | 184 | 20:00 | 100 |  | Shift from 61, Sudden Change of 39 | No |
| GIKONGORO | 2025 | 10 | 18 | 184 | 15:00 | 100 |  | Shift from 51, Sudden Change of 49 | No |
| BYIMANA | 2025 | 10 | 5 | 102 | 11:00 | 19 |  | Shift from 183, Sudden Change of 164 | No |
| BYIMANA | 2025 | 10 | 5 | 102 | 12:00 | 185 |  | Shift from 19, Sudden Change of 166 | No |
| BYIMANA | 2025 | 10 | 3 | 183 | 11:00 | 2225 | Suspected | Shift from 219, Sudden Change of 2006 | No |
| BYIMANA | 2025 | 10 | 3 | 183 | 12:00 | 248 |  | Shift from 2225, Sudden Change of 1977 | No |
| BYIMANA | 2025 | 10 | 3 | 184 | 14:00 | 89 |  | Shift from 54, Sudden Change of 35 | No |
| BYIMANA | 2025 | 10 | 12 | 184 | 10:00 | 57 |  | Shift from 95, Sudden Change of 38 | No |
| BYIMANA | 2025 | 10 | 31 | 184 | 18:00 | 94 |  | Shift from 56, Sudden Change of 38 | No |
| GISENYI | 2025 | 10 | 5 | 105 | 22:00 | 106 | Suspected | - | No |
| GISENYI | 2025 | 10 | 5 | 105 | 23:00 | 106 | Suspected | - | No |
| GISENYI | 2025 | 10 | 6 | 105 | 00:00 | 102 | Suspected | - | No |
| GISENYI | 2025 | 10 | 6 | 105 | 03:00 | 102 | Suspected | - | No |
| GISENYI | 2025 | 10 | 6 | 105 | 04:00 | 106 | Suspected | - | No |
| BYUMBA | 2025 | 10 | 1 | 103 | 19:00 | 101 |  | Shift from 153, Sudden Change of 52 | No |
| BYUMBA | 2025 | 10 | 1 | 183 | 04:00 | 17 | Suspected | Shift from 172, Sudden Change of 155 | No |
| BYUMBA | 2025 | 10 | 1 | 183 | 05:00 | 180 |  | Shift from 17, Sudden Change of 163 | No |
| BYUMBA | 2025 | 10 | 14 | 183 | 05:00 | 78 |  | Shift from 179, Sudden Change of 101 | No |
| BYUMBA | 2025 | 10 | 14 | 183 | 06:00 | 170 |  | Shift from 78, Sudden Change of 92 | No |
| NYAGATARE | 2025 | 10 | 7 | 101 | 14:00 | 187 |  | Shift from 266, Sudden Change of 79 | No |
| NYAGATARE | 2025 | 10 | 21 | 101 | 15:00 | 186 |  | Shift from 265, Sudden Change of 79 | No |
| NYAGATARE | 2025 | 10 | 20 | 103 | 01:00 | 156 |  | Shift from 97, Sudden Change of 59 | No |
| NYAGATARE | 2025 | 10 | 21 | 110 | 09:00 | 0.6 | Decimal not allowed | - | No |
| NYAGATARE | 2025 | 10 | 7 | 183 | 14:00 | 189 |  | Shift from 269, Sudden Change of 80 | No |
| NYAGATARE | 2025 | 10 | 1 | 184 | 18:00 | 73 |  | Shift from 38, Sudden Change of 35 | No |
| NYAGATARE | 2025 | 10 | 7 | 184 | 14:00 | 84 |  | Shift from 44, Sudden Change of 40 | No |
| NYAGATARE | 2025 | 10 | 20 | 184 | 01:00 | 80 |  | Shift from 39, Sudden Change of 41 | No |
| NYAGATARE | 2025 | 10 | 21 | 184 | 15:00 | 81 |  | Shift from 45, Sudden Change of 36 | No |
| KAWANGIRE | 2025 | 10 | 1 | 101 | 16:00 | 171 |  | Shift from 290, Sudden Change of 119 | No |
| KAWANGIRE | 2025 | 10 | 2 | 101 | 19:00 | 204 |  | Shift from 290, Sudden Change of 86 | No |
| KAWANGIRE | 2025 | 10 | 3 | 101 | 11:00 | 161 |  | Shift from 241, Sudden Change of 80 | No |
| KAWANGIRE | 2025 | 10 | 3 | 101 | 12:00 | 261 |  | Shift from 161, Sudden Change of 100 | No |
| KAWANGIRE | 2025 | 10 | 10 | 101 | 14:00 | 178 |  | Shift from 255, Sudden Change of 77 | No |
| KAWANGIRE | 2025 | 10 | 12 | 101 | 18:00 | 180 |  | Shift from 266, Sudden Change of 86 | No |
| KAWANGIRE | 2025 | 10 | 17 | 101 | 23:00 | 119 |  | Shift from 204, Sudden Change of 85 | No |
| KAWANGIRE | 2025 | 10 | 1 | 105 | 16:00 | 83 |  | Shift from 49, Sudden Change of 34 | No |
| KAWANGIRE | 2025 | 10 | 2 | 105 | 18:00 | 82 |  | Shift from 44, Sudden Change of 38 | No |
| KAWANGIRE | 2025 | 10 | 10 | 105 | 14:00 | 94 |  | Shift from 59, Sudden Change of 35 | No |
| KAWANGIRE | 2025 | 10 | 12 | 105 | 18:00 | 89 |  | Shift from 46, Sudden Change of 43 | No |
| KAWANGIRE | 2025 | 10 | 13 | 105 | 11:00 | 51 |  | Shift from 91, Sudden Change of 40 | No |
| KAWANGIRE | 2025 | 10 | 14 | 105 | 13:00 | 88 |  | Shift from 57, Sudden Change of 31 | No |
| KAWANGIRE | 2025 | 10 | 17 | 105 | 04:00 | 48 |  | Shift from 84, Sudden Change of 36 | No |
| KAWANGIRE | 2025 | 10 | 17 | 105 | 05:00 | 84 |  | Shift from 48, Sudden Change of 36 | No |
| KAWANGIRE | 2025 | 10 | 1 | 183 | 16:00 | 172 |  | Shift from 300, Sudden Change of 128 | No |
| KAWANGIRE | 2025 | 10 | 2 | 183 | 18:00 | 190 |  | Shift from 300, Sudden Change of 110 | No |
| KAWANGIRE | 2025 | 10 | 8 | 183 | 14:00 | 151 |  | Shift from 251, Sudden Change of 100 | No |
| KAWANGIRE | 2025 | 10 | 8 | 183 | 15:00 | 254 |  | Shift from 151, Sudden Change of 103 | No |
| KAWANGIRE | 2025 | 10 | 10 | 183 | 14:00 | 178 |  | Shift from 262, Sudden Change of 84 | No |
| KAWANGIRE | 2025 | 10 | 14 | 183 | 13:00 | 180 |  | Shift from 261, Sudden Change of 81 | No |
| KAWANGIRE | 2025 | 10 | 2 | 184 | 18:00 | 94 |  | Shift from 58, Sudden Change of 36 | No |
| KIBUNGO | 2025 | 10 | 24 | 101 | 16:00 | 192 |  | Shift from 272, Sudden Change of 80 | No |

Checked on: 05-Nov-2025

Christian Bikorimana

Ag.Data Quality Control Officer