Daily:Enter-Comparison Elements

| Station Name | Year | Month | Day | Elements IDs | Elements Values | Error Type | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 9 | 5 | 477 and 18 | 64 vs 32 | large difference btn Evapo BAC & Piche | No |
| GITEGA | 2025 | 9 | 7 | 477 and 18 | 64 vs 31 | large difference btn Evapo BAC & Piche | No |
| GIKONGORO | 2025 | 9 | 6 | 477 and 18 | 74 vs 38 | large difference btn Evapo BAC & Piche | No |
| GIKONGORO | 2025 | 9 | 7 | 477 and 18 | 85 vs 37 | large difference btn Evapo BAC & Piche | No |
| GIKONGORO | 2025 | 9 | 15 | 92,93,84 | 12&36 vs 52 | Total Sunshine is Wrong | No |
| GIKONGORO | 2025 | 9 | 21 | 575,576,18 | 52&17vs47 | Daily Evaporation must be greater than one of half day | No |
| BYIMANA | 2025 | 9 | 30 | 573, 574,477 | 32&8vs30 | Daily Evaporation must be greater than one of half day | No |
| RUBENGERA | 2025 | 9 | 10 | 573, 574,477 | 21&42vs23 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 9 | 9 | 477 and 18 | 56 vs 16 | large difference btn Evapo BAC & Piche | No |
| GISENYI | 2025 | 9 | 9 | 575,576,18 | 24&6vs16 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 9 | 12 | 573, 574,477 | 24&2vs20 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 9 | 14 | 575,576,18 | 19&8vs15 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 9 | 20 | 573, 574,477 | 31&4vs22 | Daily Evaporation must be greater than one of half day | No |
| GISENYI | 2025 | 9 | 23 | 575,576,18 | 39&13vs33 | Daily Evaporation must be greater than one of half day | No |
| RUHENGERI | 2025 | 9 | 15 | 92,93,84 | 0&6 vs 16 | Total Sunshine is Wrong | No |
| RUHENGERI | 2025 | 9 | 16 | 92,93,84 | 37&12 vs 59 | Total Sunshine is Wrong | No |
| RUHENGERI | 2025 | 9 | 16 | 575,576,18 | 20&8vs12 | Daily Evaporation must be greater than one of half day | No |
| RUHENGERI | 2025 | 9 | 18 | 573, 574,477 | 69&4vs13 | Daily Evaporation must be greater than one of half day | No |
| RUHENGERI | 2025 | 9 | 26 | 477 and 18 | 21 vs 143 | large difference btn Evapo BAC & Piche | No |
| RUHENGERI | 2025 | 9 | 28 | 575,576,18 | 24&0vs16 | Daily Evaporation must be greater than one of half day | No |
| BYUMBA | 2025 | 9 | 16 | 92,93,84 | 45&39 vs 86 | Total Sunshine is Wrong | No |
| KAWANGIRE | 2025 | 9 | 13 | 92,93,84 | 47&22 vs 49 | Total Sunshine is Wrong | No |

Daily_Absolute limits and Consecutive days consistency checks.

| Station Name | Year | Month | Day | Element ID | Element Value | Limit Error | Consistency Error | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2025 | 9 | 6 | 18 | 64 | Suspected Value |  | No |
| GIKONGORO | 2025 | 9 | 1 | 18 | 65 | Suspected Value |  | No |
| GIKONGORO | 2025 | 9 | 2 | 18 | 66 | Suspected Value |  | No |
| GIKONGORO | 2025 | 9 | 8 | 18 | 65 | Suspected Value |  | No |
| GISENYI | 2025 | 9 | 22 | 18 | 67 | Suspected Value |  | No |
| GISENYI | 2025 | 9 | 24 | 18 | 70 | Suspected Value |  | No |
| BUSOGO | 2025 | 9 | 1 | 3 | 100 |  | Shift from 180, Sudden Change of 80 | No |
| RUHENGERI | 2025 | 9 | 26 | 18 | 143 | Suspected Value |  | No |
| BYUMBA | 2025 | 9 | 9 | 18 | 66 | Suspected Value |  | No |
| BYUMBA | 2025 | 9 | 30 | 5 | 19.7 | Entry with decimal is not allowed |  | No |
| NYAGATARE | 2025 | 9 | 1 | 477 | 103 | Suspected Value |  | No |
| NYAGATARE | 2025 | 9 | 2 | 477 | 102 | Suspected Value |  | No |
| NYAGATARE | 2025 | 9 | 4 | 477 | 101 | Suspected Value |  | No |
| NYAGATARE | 2025 | 9 | 29 | 18 | 82 | Suspected Value |  | No |
| KIBUNGO | 2025 | 9 | 2 | 477 | 104 | Suspected Value |  | No |
| KIBUNGO | 2025 | 9 | 6 | 18 | 75 | Suspected Value |  | No |
| KIBUNGO | 2025 | 9 | 20 | 477 | 114 | Suspected Value |  | No |

Checked on: 03-Nov-2025

Christian Bikorimana

Ag.Data Quality Control Officer