DAILY DATA QUALITY CONTROL REPORT - January 2026

1. ABSOLUTE LIMITS AND CONSECUTIVE DAYS CONSISTENCY CHECK

No absolute limit or consistency errors found.

2. DAILY INTER ELEMENT COMPARISON CHECK

| Station Name | Year | Month | Day | Elements Involved | Values | Error Description | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BYIMANA | 2026 | 1 | 26 | Evap Piche Daily vs Evap Pan1 Daily | 26 vs 60 | Unusually large difference between Piche and Pan evaporation | Verified |
| BYIMANA | 2026 | 1 | 27 | Evap Piche Daily vs Evap Pan1 Daily | 17 vs 56 | Unusually large difference between Piche and Pan evaporation | Verified |
| BYIMANA | 2026 | 1 | 30 | EVAPO.BAC. 0618 / EVAPO.BAC. 1806 vs Evap Pan1 Daily | 32 / 26 vs 28 | Half-day Pan evaporation cannot exceed full-day total | Verified |