DAILY DATA QUALITY CONTROL REPORT - January 2026

1. ABSOLUTE LIMITS AND CONSECUTIVE DAYS CONSISTENCY CHECK

| Station Name | Year | Month | Day | Element Name | Element Value | Limit Error | Consistency Error | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2026 | 1 | 12 | Evap Pan1 Daily | 74 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 13 | Evap Pan1 Daily | 64 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 14 | Evap Pan1 Daily | 100 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 15 | Evap Pan1 Daily | 93 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 19 | Evap Pan1 Daily | 163 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 20 | Evap Pan1 Daily | 92 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 21 | Evap Pan1 Daily | 73 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 23 | Evap Pan1 Daily | 62 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 24 | Evap Pan1 Daily | 66 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 26 | Evap Pan1 Daily | 76 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 30 | Evap Pan1 Daily | 80 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 31 | Evap Pan1 Daily | 81 | Suspected Value |  | Suspected data anomalies potentially linked to instrument issues. |

2. DAILY INTER ELEMENT COMPARISON CHECK

| Station Name | Year | Month | Day | Elements Involved | Values | Error Description | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2026 | 1 | 12 | Evap Piche Daily vs Evap Pan1 Daily | 26 vs 74 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 13 | Evap Piche Daily vs Evap Pan1 Daily | 20 vs 64 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 14 | Evap Piche Daily vs Evap Pan1 Daily | 41 vs 100 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 19 | Evap Piche Daily vs Evap Pan1 Daily | 20 vs 163 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 20 | Evap Piche Daily vs Evap Pan1 Daily | 15 vs 92 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 21 | Evap Piche Daily vs Evap Pan1 Daily | 40 vs 73 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 22 | Evap Piche Daily vs Evap Pan1 Daily | 26 vs 57 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 26 | Evap Piche Daily vs Evap Pan1 Daily | 44 vs 76 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 27 | Evap Piche Daily vs Evap Pan1 Daily | 19 vs 58 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 30 | Evap Piche Daily vs Evap Pan1 Daily | 43 vs 80 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |
| GITEGA | 2026 | 1 | 31 | Evap Piche Daily vs Evap Pan1 Daily | 23 vs 81 | Unusually large difference between Piche and Pan evaporation | Suspected data anomalies potentially linked to instrument issues. |

Verified on: 03-Feb-2026

Murebwayire Uyizera Macrine

Observation Officer