HOURLY DATA QUALITY CONTROL REPORT - January 2026

1. HOURLY INTER ELEMENT COMPARISON CHECK

| Station Name | Year | Month | Day | Hour | Elements Involved | Values | Error Description | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2026 | 1 | 4 | 06:00 | Relative Humidity vs Hygrograph Hygro | 78 vs 36 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 16 | 06:00 | Relative Humidity vs Hygrograph Hygro | 75 vs 26 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 16 | 07:00 | Relative Humidity vs Hygrograph Hygro | 73 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 16 | 08:00 | Relative Humidity vs Hygrograph Hygro | 71 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 00:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 01:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 02:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 03:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 04:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 05:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 06:00 | Relative Humidity vs Hygrograph Hygro | 76 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 17 | 07:00 | Relative Humidity vs Hygrograph Hygro | 76 vs 33 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 00:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 01:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 02:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 03:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 04:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 05:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 06:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 19 | 07:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 24 | 06:00 | Relative Humidity vs Hygrograph Hygro | 83 vs 29 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 24 | 07:00 | Relative Humidity vs Hygrograph Hygro | 82 vs 30 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 24 | 08:00 | Relative Humidity vs Hygrograph Hygro | 78 vs 32 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 25 | 00:00 | Relative Humidity vs Hygrograph Hygro | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 25 | 01:00 | Relative Humidity vs Hygrograph Hygro | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 25 | 02:00 | Relative Humidity vs Hygrograph Hygro | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 25 | 03:00 | Relative Humidity vs Hygrograph Hygro | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 25 | 04:00 | Relative Humidity vs Hygrograph Hygro | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 25 | 05:00 | Relative Humidity vs Hygrograph Hygro | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 25 | 06:00 | Relative Humidity vs Hygrograph Hygro | 74 vs 28 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 26 | 06:00 | Relative Humidity vs Hygrograph Hygro | 80 vs 33 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 26 | 07:00 | Relative Humidity vs Hygrograph Hygro | 79 vs 33 | Large deviation between Relative Humidity and Hygrograph | Yes |
| GITEGA | 2026 | 1 | 26 | 08:00 | Relative Humidity vs Hygrograph Hygro | 76 vs 33 | Large deviation between Relative Humidity and Hygrograph | Yes |

2. ABSOLUTE LIMITS AND CONSECUTIVE HOURS' CONSISTENCY CHECK

| Station Name | Year | Month | Day | Element Name | Hour | Value | Limit Check | Consistency Check | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2026 | 1 | 16 | Relative Humidity | 06:00 | 75 |  | Shift from 29, Change: 46 | Yes |

Verified on: 07-Feb-2026

Murebwayire Uyizera Macrine

Observation Officer