HOURLY DATA QUALITY CONTROL REPORT - January 2026

1. HOURLY INTER ELEMENT COMPARISON CHECK

| Station Name | Year | Month | Day | Hour | Elements Involved | Values | Error Description | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2026 | 1 | 4 | 06:00 | Relative Humidity vs Hygrograph Hly | 78 vs 36 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 16 | 06:00 | Relative Humidity vs Hygrograph Hly | 75 vs 26 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 16 | 07:00 | Relative Humidity vs Hygrograph Hly | 73 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 16 | 08:00 | Relative Humidity vs Hygrograph Hly | 71 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 00:00 | Relative Humidity vs Hygrograph Hly | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 01:00 | Relative Humidity vs Hygrograph Hly | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 02:00 | Relative Humidity vs Hygrograph Hly | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 03:00 | Relative Humidity vs Hygrograph Hly | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 04:00 | Relative Humidity vs Hygrograph Hly | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 05:00 | Relative Humidity vs Hygrograph Hly | 80 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 06:00 | Relative Humidity vs Hygrograph Hly | 76 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 17 | 07:00 | Relative Humidity vs Hygrograph Hly | 76 vs 33 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 00:00 | Relative Humidity vs Hygrograph Hly | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 01:00 | Relative Humidity vs Hygrograph Hly | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 02:00 | Relative Humidity vs Hygrograph Hly | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 03:00 | Relative Humidity vs Hygrograph Hly | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 04:00 | Relative Humidity vs Hygrograph Hly | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 05:00 | Relative Humidity vs Hygrograph Hly | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 06:00 | Relative Humidity vs Hygrograph Hly | 80 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 19 | 07:00 | Relative Humidity vs Hygrograph Hly | 79 vs 37 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 24 | 06:00 | Relative Humidity vs Hygrograph Hly | 83 vs 29 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 24 | 07:00 | Relative Humidity vs Hygrograph Hly | 82 vs 30 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 24 | 08:00 | Relative Humidity vs Hygrograph Hly | 78 vs 32 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 25 | 00:00 | Relative Humidity vs Hygrograph Hly | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 25 | 01:00 | Relative Humidity vs Hygrograph Hly | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 25 | 02:00 | Relative Humidity vs Hygrograph Hly | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 25 | 03:00 | Relative Humidity vs Hygrograph Hly | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 25 | 04:00 | Relative Humidity vs Hygrograph Hly | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 25 | 05:00 | Relative Humidity vs Hygrograph Hly | 77 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 25 | 06:00 | Relative Humidity vs Hygrograph Hly | 74 vs 28 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 26 | 06:00 | Relative Humidity vs Hygrograph Hly | 80 vs 33 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 26 | 07:00 | Relative Humidity vs Hygrograph Hly | 79 vs 33 | Large deviation between Relative Humidity and Hygrograph | YES |
| GITEGA | 2026 | 1 | 26 | 08:00 | Relative Humidity vs Hygrograph Hly | 76 vs 33 | Large deviation between Relative Humidity and Hygrograph | YES |
| KAWANGIRE | 2026 | 1 | 2 | 06:00 | Temp Dry Bulb vs Temp Wet Bulb | 150 vs 151 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 2 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 154 vs 155 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 2 | 08:00 | Temp Dry Bulb vs Temp Wet Bulb | 162 vs 163 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 3 | 00:00 | Relative Humidity vs Hygrograph Hly | 83 vs 169 | Large deviation between Relative Humidity and Hygrograph | NO |
| KAWANGIRE | 2026 | 1 | 4 | 11:00 | Relative Humidity vs Hygrograph Hly | 56 vs 98 | Large deviation between Relative Humidity and Hygrograph | NO |
| KAWANGIRE | 2026 | 1 | 4 | 12:00 | Relative Humidity vs Hygrograph Hly | 54 vs 98 | Large deviation between Relative Humidity and Hygrograph | NO |
| KAWANGIRE | 2026 | 1 | 6 | 06:00 | Temp Dry Bulb vs Temp Wet Bulb | 170 vs 171 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 12 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 170 vs 171 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 13 | 06:00 | Temp Dry Bulb vs Temp Wet Bulb | 168 vs 169 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 13 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 170 vs 171 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 14 | 00:00 | Temp Dry Bulb vs Temp THMGRF Hly | 250 vs 179 | Large deviation (>50) between Dry Bulb and Thermograph | NO |
| KAWANGIRE | 2026 | 1 | 14 | 01:00 | Temp Dry Bulb vs Temp THMGRF Hly | 250 vs 172 | Large deviation (>50) between Dry Bulb and Thermograph | NO |
| KAWANGIRE | 2026 | 1 | 14 | 02:00 | Temp Dry Bulb vs Temp THMGRF Hly | 250 vs 165 | Large deviation (>50) between Dry Bulb and Thermograph | NO |
| KAWANGIRE | 2026 | 1 | 14 | 03:00 | Temp Dry Bulb vs Temp THMGRF Hly | 250 vs 160 | Large deviation (>50) between Dry Bulb and Thermograph | NO |
| KAWANGIRE | 2026 | 1 | 14 | 04:00 | Temp Dry Bulb vs Temp THMGRF Hly | 250 vs 160 | Large deviation (>50) between Dry Bulb and Thermograph | NO |
| KAWANGIRE | 2026 | 1 | 14 | 05:00 | Temp Dry Bulb vs Temp THMGRF Hly | 250 vs 158 | Large deviation (>50) between Dry Bulb and Thermograph | NO |
| KAWANGIRE | 2026 | 1 | 14 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 165 vs 166 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 14 | 08:00 | Temp Dry Bulb vs Temp Wet Bulb | 176 vs 177 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 14 | 23:00 | Temp Dry Bulb vs Temp THMGRF Hly | 250 vs 198 | Large deviation (>50) between Dry Bulb and Thermograph | NO |
| KAWANGIRE | 2026 | 1 | 20 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 170 vs 171 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 20 | 08:00 | Temp Dry Bulb vs Temp Wet Bulb | 176 vs 177 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 21 | 06:00 | Temp Dry Bulb vs Temp Wet Bulb | 155 vs 156 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 21 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 160 vs 161 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 21 | 08:00 | Temp Dry Bulb vs Temp Wet Bulb | 165 vs 166 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 23 | 06:00 | Temp Dry Bulb vs Temp Wet Bulb | 160 vs 161 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 23 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 165 vs 166 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 23 | 08:00 | Temp Dry Bulb vs Temp Wet Bulb | 177 vs 178 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 28 | 06:00 | Temp Dry Bulb vs Temp Wet Bulb | 165 vs 166 | Dry Bulb Temperature can not be less than Wet Bulb | NO |
| KAWANGIRE | 2026 | 1 | 28 | 07:00 | Temp Dry Bulb vs Temp Wet Bulb | 168 vs 169 | Dry Bulb Temperature can not be less than Wet Bulb | NO |

2. ABSOLUTE LIMITS AND CONSECUTIVE HOURS' CONSISTENCY CHECK

| Station Name | Year | Month | Day | Element Name | Hour | Value | Limit Check | Consistency Check | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GITEGA | 2026 | 1 | 16 | Relative Humidity | 06:00 | 75 |  | Shift from 29, Change: 46 | YES |
| GISENYI | 2026 | 1 | 27 | Temp Dry Bulb | 13:00 | 167 |  | Shift from 270, Change: 103 | YES |
| GISENYI | 2026 | 1 | 28 | Temp Dry Bulb | 15:00 | 177 |  | Shift from 253, Change: 76 | YES |
| GISENYI | 2026 | 1 | 29 | Temp Dry Bulb | 21:00 | 320 |  | Shift from 218, Change: 102 | YES |
| GISENYI | 2026 | 1 | 29 | Temp Dry Bulb | 22:00 | 218 |  | Shift from 320, Change: 102 | YES |
| GISENYI | 2026 | 1 | 31 | Temp Dry Bulb | 14:00 | 200 |  | Shift from 282, Change: 82 | YES |
| BYIMANA | 2026 | 1 | 15 | Hygrograph Hly | 09:00 | 56 |  | Shift from 91, Change: 35 | YES |
| BYIMANA | 2026 | 1 | 16 | Hygrograph Hly | 08:00 | 59 |  | Shift from 90, Change: 31 | YES |
| BYIMANA | 2026 | 1 | 24 | Hygrograph Hly | 19:00 | 76 |  | Shift from 43, Change: 33 | YES |
| RUBENGERA | 2026 | 1 | 14 | Hygrograph Hly | 09:00 | 44 |  | Shift from 79, Change: 35 | YES |
| RUBENGERA | 2026 | 1 | 15 | Hygrograph Hly | 09:00 | 49 |  | Shift from 84, Change: 35 | YES |
| RUHENGERI | 2026 | 1 | 14 | Relative Humidity | 10:00 | 42 |  | Shift from 75, Change: 33 | YES |
| RUHENGERI | 2026 | 1 | 14 | Hygrograph Hly | 10:00 | 35 |  | Shift from 70, Change: 35 | YES |
| KAWANGIRE | 2026 | 1 | 3 | Hygrograph Hly | 00:00 | 169 | Suspected |  | NO |
| KAWANGIRE | 2026 | 1 | 3 | Hygrograph Hly | 01:00 | 100 |  | Shift from 169, Change: 69 | NO |
| KAWANGIRE | 2026 | 1 | 5 | Hygrograph Hly | 17:00 | 50 |  | Shift from 91, Change: 41 | NO |
| KAWANGIRE | 2026 | 1 | 5 | Hygrograph Hly | 18:00 | 90 |  | Shift from 50, Change: 40 | NO |
| KAWANGIRE | 2026 | 1 | 12 | Hygrograph Hly | 13:00 | 52 |  | Shift from 95, Change: 43 | NO |
| KAWANGIRE | 2026 | 1 | 12 | Hygrograph Hly | 15:00 | 90 |  | Shift from 52, Change: 38 | NO |
| KAWANGIRE | 2026 | 1 | 23 | Hygrograph Hly | 13:00 | 50 |  | Shift from 89, Change: 39 | NO |

Checked on: 12-Feb-2026

Christian Bikorimana

Ag.Data Quality Control Officer