DAILY DATA QUALITY CONTROL REPORT - January 2026

1. ABSOLUTE LIMITS AND CONSECUTIVE DAYS CONSISTENCY CHECK

No absolute limit or consistency errors found.

2. DAILY INTER ELEMENT COMPARISON CHECK

| Station Name | Year | Month | Day | Elements Involved | Values | Error Description | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- |
| KIBUNGO | 2026 | 1 | 3 | Evap Piche Daily vs Evap Pan1 Daily | 70 vs 37 | Unusually large difference between Piche and Pan evaporation | YES CHECKED |
| KIBUNGO | 2026 | 1 | 16 | Evap Piche Daily vs Evap Pan1 Daily | 78 vs 46 | Unusually large difference between Piche and Pan evaporation | YES CHECKED |
| KIBUNGO | 2026 | 1 | 18 | Insolation Afternoon + Insolation Morning vs Sunshine Daily Tot | 39 + 48 = 87 vs 85 | Sunshine daily total does not equal sum of morning + afternoon | CORRECTED |