HOURLY DATA QUALITY CONTROL REPORT - January 2026

1. HOURLY INTER ELEMENT COMPARISON CHECK

| Station Name | Year | Month | Day | Hour | Elements Involved | Values | Error Description | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| KIBUNGO | 2026 | 1 | 13 | 21:00 | Temp Dew Point vs Temp Wet Bulb | 164 vs 161 | Dew Point cannot be greater than Wet Bulb Temperature | YES |
| KIBUNGO | 2026 | 1 | 13 | 21:00 | Vapor Pressure vs Temp Dew Point | 154 vs 164 | Vapor Pressure cannot be less than Dew Point | YES |

2. ABSOLUTE LIMITS AND CONSECUTIVE HOURS' CONSISTENCY CHECK

No absolute limit or consistency errors found.