HOURLY DATA QUALITY CONTROL REPORT - January 2026

1. HOURLY INTER ELEMENT COMPARISON CHECK

No inter-element errors found.

2. ABSOLUTE LIMITS AND CONSECUTIVE HOURS' CONSISTENCY CHECK

| Station Name | Year | Month | Day | Element Name | Hour | Value | Limit Check | Consistency Check | Verified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RUHENGERI | 2026 | 1 | 14 | Relative Humidity | 10:00 | 42 |  | Shift from 75, Change: 33 | YES |
| RUHENGERI | 2026 | 1 | 14 | Hygrograph Hly | 10:00 | 35 |  | Shift from 70, Change: 35 | YES |