REPORTING STATUS OF AWS & ARG BY OCTOBER 2025.

- INTRODUCTION

This report provides a summary of the performance of automatic weather stations (AWS) and automatic rain gauges (ARG) for October 2025 of the stations maintained by Meteo Rwanda. Table 1 presents the number of monitored stations and their corresponding data repository folders.

Table 1:Numbers on monitored Stations

| Station Type | Number | Server | Repository folder | GUI | Monitoring Frequency |
| --- | --- | --- | --- | --- | --- |
| AWS Web monitor | 48 | Web Monitor | C:\NESA\files\Climat File | Web Monitor | Daily |
| AWS_SOFF | 3 | Web Monitor | C:\Campbellsci\LoggerNet | Wis2box | Daily |
| AWS_Lightening | 8 | Web Monitor | C:\NESA\files | None | Monthly |
| ARG | 70 | LSA | C:\DATA | Comnet | Monthly |
| AWS-XLOG | 6 | LSA | C:\DATA\XLOG | None | Monthly |
| AWS-ELOG | 3 | LSA | C:\DATA | CommNet | Monthly |
| TOTAL | 138 |  |  |  |  |

- REPORTING STATUS

Table 2:Reporting Status during October,2025.

| Station Type | Number | ONCE REPORTED IN OCTOBER 2025 |  |
| --- | --- | --- | --- |
|  |  | Number | Percent |
| AWS Web monitor | 48 | 46 | 95.8% |
| AWS_SOFF | 3 | 3 | 100.0% |
| AWS_Lightening | 8 | 4 | 50.0% |
| ARG | 70 | 51 | 72.9% |
| AWS-XLOG | 6 | 3 | 50.0% |
| AWS-ELOG | 3 | 2 | 66.7% |
| TOTAL | 138 | 109 | 79.0% |

Prepared by:

Christian Bikorimana

Ag. Data Quality Control Officer